Section I: Scenario Demographics

| Scenario Title: | LVAD |
| --- | --- |
| Date of Development: | (27/04/2018) |
| Target Learning Group: | Juniors (PGY 1 – 2) Seniors (PGY ≥ 3) All Groups |

Section II: Scenario Developers

| Scenario Developer(s): | Ashley Lubberdink MD, Sameer Sharif MD |
| --- | --- |
| Affiliations/Institution(s): | McMaster University |
| Contact Email/Twitter: | Ashley.lubberdink@medportal.ca, @SameerSharifMD |

Section III: Curriculum Integration

| Learning Goals & Objectives |  |
| --- | --- |
| Educational Goal: | To provide learners with the unique opportunity to manage an unstable patient with a left ventricular assist device (LVAD) |
| CRM Objectives: | - Effectively lead a team through the complex resuscitation of an LVAD patient - Demonstrate high quality closed loop communication throughout the case - Communicate with consultants early when managing an LVAD patient in the ED |
| Medical Objectives: | - Demonstrate a systematic approach to the assessment of the LVAD - Recognize and verbalize the challenges with BP monitoring in the LVAD patient - Manage the arrested LVAD patient |

Case Summary: Brief Summary of Case Progression and Major Events

A 62-year-old man presents to the ED with palpitations and general malaise. On initial assessment, the team finds out he had an LVAD placed within the last 1 month. The team will need to work through how to assess the patient’s vital signs appropriately and will discover the patient has a low MAP and a low-grade fever. On inspection, the patient’s drive line site will appear infected. The initial ECG will show features of hyperkalemia. After the initial assessment, the patient will progress to a PEA arrest requiring resuscitation by ACLS protocols. Labs will reveal an acute kidney injury and hyperkalemia. The patient will obtain ROSC when the hyperkalemia is treated.

References

Pratt AK, Shah NS, Boyce SW. Left Ventricular Assist Device Management in the ICU. Critical Care Medicine. 2014;42(1)158-168.

Robertson J, Long B, Koyfman A. The emergency management of ventricular assist devices. Am J Emerg Med. 2016;34(7):1294-1301.

Bayliss,J. Mechanical Heart: a basic approach to LVADS in the ED. https://canadiem.org/lvads-approach-ed/. Accessed April 28, 2018.

Syed, S. LVAD’s 101, EM Ottawa Blog. https://emottawablog.com/2016/01/lvads-101/. Accessed April 29, 2018

Weingart, S. Left Ventricular Assist Devices (LVADS). https://emcrit.org/racc/left-ventricular-assist-devices-lvads-2. Accessed April 27, 2018

Rezaie, S. Left Ventricular Assist Device. http://rebelem.com/left-ventricular-assist-device/. Accessed April 27, 2018

Section IV: Scenario Script

| A. Clinical Vignette: To Read Aloud at Beginning of Case |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A 62-year-old male presents to your large community ED with a 1 day history of generalized malaise and nausea and a 2-hour history of palpitations. He is particularly concerned about his symptoms because last month he had an LVAD placed at your provinces’ major cardiac center (3 hours away) for stage 4 CHF. His wife is accompanying him but is currently parking the car. |  |  |  |  |  |  |  |  |  |  |
| B. Scenario Cast & Realism |  |  |  |  |  |  |  |  |  |  |
| Patient: | Computerized Mannequin |  |  |  |  | Realism: Select most important dimension(s) |  |  | Conceptual |  |
|  | Mannequin |  |  |  |  |  |  |  | Physical |  |
|  | Standardized Patient |  |  |  |  |  |  |  | Emotional/Experiential |  |
|  | Hybrid |  |  |  |  |  |  |  | Other: |  |
|  | Task Trainer |  |  |  |  |  |  |  | N/A |  |
| Confederates | Brief Description of Role |  |  |  |  |  |  |  |  |  |
| ED RN | Acts as experienced RN |  |  |  |  |  |  |  |  |  |
| Patients wife (Norma) | Carrying LVAD card, has information for team re: LVAD hotline and extra set of batteries |  |  |  |  |  |  |  |  |  |
| C. Required Monitors |  |  |  |  |  |  |  |  |  |  |  |
| EKG Leads/Wires |  |  | Temperature Probe |  |  |  | Central Venous Line |  |  |  |  |
| NIBP Cuff |  |  | Defibrillator Pads |  |  |  | Capnography |  |  |  |  |
| Pulse Oximeter |  |  | Arterial Line |  |  |  | Other: |  |  |  |  |
| D. Required Equipment |  |  |  |  |  |  |  |  |  |  |  |
| Gloves |  |  | Nasal Prongs |  |  |  | Scalpel |  |  |  |  |
| Stethoscope |  |  | Venturi Mask |  |  |  | Tube Thoracostomy Kit |  |  |  |  |
| Defibrillator |  |  | Non-Rebreather Mask |  |  |  | Cricothyroidotomy Kit |  |  |  |  |
| IV Bags/Lines |  |  | Bag Valve Mask |  |  |  | Thoracotomy Kit |  |  |  |  |
| IV Push Medications |  |  | Laryngoscope |  |  |  | Central Line Kit |  |  |  |  |
| PO Tabs |  |  | Video Assisted Laryngoscope |  |  |  | Arterial Line Kit |  |  |  |  |
| Blood Products |  |  | ET Tubes |  |  |  | Other: |  |  |  |  |
| Intraosseous Set-up |  |  | LMA |  |  |  | Other: |  |  |  |  |
| E. Moulage |  |  |  |  |  |  |  |  |  |  |  |
| LVAD wires/battery pack, LVAD card. Pictures of drive line site to be given to learners (to show signs of infection.) |  |  |  |  |  |  |  |  |  |  |  |
| F. Approximate Timing |  |  |  |  |  |  |  |  |  |  |  |
| Set-Up: |  | 5 min |  | Scenario: | 20 min |  |  | Debriefing: |  | 20 min |  |

Section V: Patient Data and Baseline State

| A. Patient Profile and History |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient Name: Larry Vader |  |  |  |  |  | Age: 62 |  |  |  |  |  |  |  | Weight: 70 kg |  |
| Gender: M F |  |  |  |  |  | Code Status: Full |  |  |  |  |  |  |  |  |  |
| Chief Complaint: Palpitations, general weakness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| History of Presenting Illness: Over the last 1 day, general weakness/ nausea with intermittent palpitations over the last 2 hours. No chest pain. Concerned as recent surgery for LVAD placement within last month. No fevers or chills. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Past Medical History: |  | LVAD placed for NYHA4 CHF 1 month ago (LVEF 20%) |  |  |  |  | Medications: |  |  |  |  | Metformin Warfarin Ticagrelor |  |  |  |
|  |  | HTN |  |  |  |  |  |  |  |  |  | Ramipril |  |  |  |
|  |  | Hypercholesterolemia |  |  |  |  |  |  |  |  |  | Metoprolol |  |  |  |
|  |  | DM type 2 |  |  |  |  |  |  |  |  |  | ASA |  |  |  |
|  |  | CKD |  |  |  |  |  |  |  |  |  | Atorvastatin |  |  |  |
| Allergies: NKDA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Social History: Lives with wife. Retired accountant. Non-smoker. No ETOH/ Drug use. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Family History: N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review of Systems: |  | CNS: |  |  | General weakness/malaise |  |  |  |  |  |  |  |  |  |  |
|  |  | HEENT: |  |  | Nil |  |  |  |  |  |  |  |  |  |  |
|  |  | CVS: |  |  | Intermittent palpitations x 2 hours. No chest pain. |  |  |  |  |  |  |  |  |  |  |
|  |  | RESP: |  |  | No dyspnea. |  |  |  |  |  |  |  |  |  |  |
|  |  | GI: |  |  | Mild nausea. |  |  |  |  |  |  |  |  |  |  |
|  |  | GU: |  |  | Nil |  |  |  |  |  |  |  |  |  |  |
|  |  | MSK: |  |  | Nil |  |  |  |  |  |  |  | INT: |  | Nil |
| B. Baseline Simulator State and Physical Exam |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No Monitor Display |  |  |  | Monitor On, no data displayed |  |  |  |  |  |  | Monitor on Standard Display |  |  |  |  |
| HR: 80 /min |  |  | BP: 0/0 |  |  |  |  | RR: 20 /min |  |  |  |  |  |  | O2SAT: 95 % RA |
| Rhythm: NSR, wide |  |  | T: 37.9oC |  |  |  |  | Glucose: 14 mmol/L |  |  |  |  |  |  | GCS: 15 (E4 V5 M6) |
| General Status: Looks uncomfortable and anxious |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CNS: | A +O x 3. No focal deficits |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HEENT: | Nil |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CVS: | LVAD hum auscultated. No pulses palpable. MAP obtainable through Doppler ± manual cuff. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESP: | GAEB, no adventitious sounds. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ABDO: | Soft, nontender |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GU: | Nil |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MSK: | Nil |  |  |  |  |  |  |  | SKIN: | Drive line site erythematous and draining pus (picture to be given) |  |  |  |  |  |

Section VI: Scenario Progression

| Scenario States, Modifiers and Triggers |  |  |  |
| --- | --- | --- | --- |
| Patient State | Patient Status | Learner Actions, Modifiers & Triggers to Move to Next State |  |
| 1. Baseline State Rhythm: sinus, hyperkalemic (wide-complex) HR: 80/min BP: 0/0 RR: 20 /min O2SAT: 95% RA T: 37.9oC LVAD on auscultation: hum/whirling sound | A+O. Feels “dizzy” and complaining of palpitations. | Learner Actions - Monitors, IV access, glucose (14) - Cautious IV NS/LR bolus - ABC’s, hx and physical - Auscultate precordium for LVAD hum - Assess LVAD (controller, driveline, battery) - Assess perfusion (mental status, skin temp/colour) - Obtain MAP via manual cuff & Doppler - Obtain LVAD info card/call hotline/caregiver (busy signal) - Defibrillator pads placed in PA position (front and back) - Cardiac labs, extended lytes - ECG - CXR - POCUS - ± Arterial line - Empiric antibiotics - Call for help (cardiology, cardiac surgery) - Calcium gluconate 1g iv (if hyperkalemia recognized) | Modifiers Changes to patient condition based on learner action - If 2 x attempts NIBP RN to cue “Isn’t there something about LVAD’s and BP cuffs not working?” - If BP assessed by manual cuff + Doppler MAP = 50 (if assessed by art line 70/40) Triggers For progression to next state - All actions complete or 5 mins into the case 2. PEA Arrest |
| 2. PEA Arrest Rhythm: slow 3rd degree HR: 20/min BP: 0/0 RR: 0 /min O2SAT: --- T: 37.9oC LVAD: no hum | Unconscious No BP by cuff/art line | Learner Actions - Re-auscultate chest, re-check BP manually/Doppler - Re-check power source/connections - Start chest compressions (30:2) - Epi 1 amp q3min - LVAD hotline/ Cardiology/ CV Surg called if not yet done - Calcium gluconate 1g iv - 1 amp D50 followed by 10 units Humulin R iv | Modifiers - If no CPR initiated within 3 mins cardiology to call the room and recommend initiation of CPR - In middle of first CPR cycle blood work is back Triggers - Calcium given 3. ROSC |
| 3. ROSC Rhythm: NSR HR: 100/min BP: 120/70 by art line, MAP 85 by doppler RR: 16 /min O2SAT: 95% RA T: 37.9oC LVAD on auscultation: hum/whirling sound | Patient regains consciousness, A + O, moving all 4 limbs. | Learner Actions - Post arrest ECG - CXR - ICU/cardiology/cardiac surgery called (if not yet done) - ± further hyperkalemia treatment (eg: Ventolin) | Modifiers - After 1 min Cardiac Surgery calls back to speak to team End case PRN |

Section VII: Supporting Documents, Laboratory Results, & Multimedia

| Laboratory Results |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Na: 140 | K: 8.0 |  |  | Cl: 109 |  | HCO3: 12 |  | BUN: 16 |  | Cr: 210 |  |  | Glu: 14 |
| Ca: 2.2 |  |  | Mg: 1.1 |  |  |  | PO4: 0.65 |  |  |  | Albumin: 35 |  |  |
| VBG |  | pH: 7.25 |  |  | PCO2: 35 |  | PO2: 80 |  | HCO3: 12 |  |  | Lactate: 2.9 |  |
| WBC: 15 |  |  | Hg: 110 |  |  |  | Hct: 0.33 |  |  |  | Plt: 500 |  |  |
| INR: 2.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Images (ECGs, CXRs, etc.) |  |
| --- | --- |
| CXR https://edecmo.org/additional-technologies/ventricular-assist-devices-vads/lvads/ | Initial ECG https://lifeinthefastlane.com/ecg-library/basics/hyperkalaemia/ |
| Picture of driveline site infection (Image source: http://journals.sagepub.com/doi/full/ 10.1177/1179065217714216) | ROSC ECG https://lifeinthefastlane.com/ecg-library/basics/hyperkalaemia/ |
| Ultrasound Video Files (if applicable) |  |
| LVAD ECHO VIDEO: https://www.youtube.com/watch?v=-4ThAo4m2UI |  |

Section VIII: Debriefing Guide

| General Debriefing Plan |  |  |  |  |
| --- | --- | --- | --- | --- |
| Individual | Group |  | With Video | Without Video |
| Objectives |  |  |  |  |
| Educational Goal: |  | To provide learners with the unique opportunity to manage an unstable patient with a left ventricular assist device (LVAD) |  |  |
| CRM Objectives: |  | - Effectively lead a team through the complex resuscitation of an LVAD patient - Demonstrate high quality closed loop communication throughout the case - Communicate with consultants early when managing an LVAD patient in the ED |  |  |
| Medical Objectives: |  | - Demonstrate a systematic approach to the assessment of the LVAD - Recognize and verbalize the challenges with BP monitoring in the LVAD patient - Manage the arrested LVAD patient |  |  |
| Sample Questions for Debriefing |  |  |  |  |
| - What are the components of an LVAD? - What are some difficulties you may encounter on the initial assessment of a patient with a LVAD? - What is the differential diagnosis of hypotension in a patient with an LVAD? - What are some common complications seen in patients with LVAD? - How can echocardiography be utilized to troubleshoot LVAD difficulties? |  |  |  |  |
| Key Moments |  |  |  |  |
| Recognizing lack of utility of automated BP cuffs |  |  |  |  |
| Recognition of arrest and immediate initiation of ACLS |  |  |  |  |
| Recognition and correction of hyperkalemia |  |  |  |  |